Ignacio Medina
imedina@ebi.ac.uk
Mapping NGS reads for genomic studies

---
Where are we?
Fastq
Sequence preprocessing
Fastq
Alignment
BAM
Visualization
BAM
RNA-Seq processing
Variant calling
Count matrix
VCF
RNA-Seq data analysis
Variant annotation
Prioritization
Functional analysis
Exome analysis
RNA-Seq analysis

---
Index
- Introduction
- Algorithms and Tools
- HPG Aligner
- SAM/BAM specification
- Best practices
- Data repositories
- Hands on
- QC alignment

---
Introduction
The NGS data, some numbers and features
- Current read sizes ranging from 100-800bp, up to 15kb coming soon
- Single-end and paired-end reads
- Sequencing errors, low quality reads, duplicated reads
- Analysis pipelines: Exome vs Genome sequencing, RNA-seq (transcriptomics), germline vs somatic, BS-seq, ChIP-seq, ...
- Illumina HiSeq 2500 provides high-quality 2x125bp: 176Gb in 40h, 90.2% bases above Q30
  - Human genome 3Gb ~ 60x coverage
  - Each sample produces a fastq file ~500GB size containing ~550M reads
- New Illumina X Ten: Consists if ten ultra-high-throughput sequencers. First $1000 human genome sequencer. Produces 18.000 genomes per year
- Mapping goes from FASTQ to SAM/BAM files

---
Introduction
Aligning reads, the challenges
- Mapping reads onto a reference genome, a simple concept but there are some challenges:
  - Natural variability: SNPs, de novo mutations, INDELS, copy number, translocations, …
  - Repetitive regions
  - Sequencing errors
  - RNA-seq: gapped alignment
  - BS-seq: C → T conversion strategy
  - High computing resources needed: multicore CPUs and a lot of RAM
- We must deal with genomic variation in an efficient way
Simple idea, but with some challenges

---
Introduction
Getting a reference genome
- A reference genome is a consensus sequence built up from high quality sequencing samples from different populations. It is the control reference sequence to compare our samples
- Genome Reference Consortium (GRC) created to deliver assemblies:
  - http://www.ncbi.nlm.nih.gov/projects/genome/assembly/grc/
- Current human assembly is GRCh38, released in the summer of 2014. Major projects are considering to use it.
- Reference genomes can be downloaded from:
  - GRC: Human genome available at: ftp://ftp.ncbi.nlm.nih.gov/genbank/genomes/Eukaryotes/vertebrates_mammals/Homo_sapiens/GRCh37/Primary_Assembly/assembled_chromosomes/FASTA/
  - Ensembl: many available vertebrates genomes http://www.ensembl.org/info/data/ftp/index.html
  - Ensembl Genomes: http://ensemblgenomes.org/

---
Introduction
NGS in clinics, proof of concept

---
Introduction
The mapping process considerations
- Considerations:
  - Which tool to use? What am I looking for? SNVs? INDELS? Long reads?
  - Is it DNA or RNA?
  - Single-end or paired-end? Paired-end when:
    - For very short reads, reduce the number
      of false positives alignments
    - Re-sequencing projects, Rna-seq?
    - Am I interested in Structural variation or
      gene fusions?
    - Reduce number of false positive variants
  - Should I allow multiple hits?
  - Should I remove low quality reads?
- In general for genomic variant analysis we need high quality reads, paired-end datasets work better, and no multiple hits must be allowed
Taken from Illumina

---
Algorithms and tools
Desirable features of a aligner
- Goals
  - Sensitivity, we are looking for genomic variants, reads with mismatches and INDELS must be properly aligned
  - Specificity, no wrong alignments should be provided
  - Being able to perform gapped alignments (RNA), exons must be correctly located
  - Good performance, efficiency matters
  - Easy to use
  - Open-source and maintained
  - Capable of align different data types: DNA, RNA-seq, BS-seq, …
- Unfortunately... most tools or algorithms only work well in a specific scenario
- New project called High-Performance Genomics (HPG) that is part of the OpenCB initiative tries to solve this

---
Algorithms and tools
Smith-Waterman (SW) algorithm
SW finds the optimal local alignment between:
Sequence 1 = ACACACTA
Sequence 2 = AGCACACA
Very popular algorithm developed in 1981
Provides a very high sensitivity, allowing alignments with any number of mismatches, insertions and deletions
Gives an optimal alignment between two sequences given a penalties, it is not a mapper but an sequence aligner
No suitable for whole genome alignment: for a 100bp read and the human genome 3Gb, the matrix dimension: 100x3.109, using 4 Bytes for integers: 1.2TB of RAM !!
Although dynamic programming techniques are applied to make SW more efficient, the CPU requirements are still too high, SW is too slow for NGS
Given gap-scoring penalties:
w(match) = +2
w(a,-) = w(-,b) = w(mismatch) = -1
Alignment result:
Sequence 1 = A - C A C A C T A
Sequence 2 = A G C A C A C - A

---
Algorithms and tools
BLAST, Basic Local Alignment Search Tool
- BLAST is one of the most widely used programs in Bioinformatics developed in 1990 at NIH. Allows comparing and searching amino-acid and DNA sequences in a database of sequences
- BLAST uses a heuristic algorithm to speed-up searches, it is much faster than calculating an optimal alignment with Smith-Waterman, but it cannot guarantee the optimal alignment of the query sequence in the database. It searches the most relevant seeds from query sequence in exact way and then SW is applied
- It presents a high sensitivity, allowing alignments with any number of mismatches, insertions and deletions, it can be used to align sequence between species
- However, it is still too slow for NGS mapping, blast can align few thousands sequences per hour

---
Algorithms and tools
Burrows-Wheeler Transform (BWT) algorithm
BWT is an algorithm used in data compression techniques such as bzip2
It efficiently align short sequencing reads against a large reference sequence such as the human genome, a prefix tree index is created using reference genome
In the transformation all permutations are sorted and all suffixes are grouped
It is much faster than BLAST, it can align hundred of thousands sequences per second!
However, it presents a lower sensitivity, it can allow a few mismatches, and in some implementation one INDEL
0,6
C
G
A
3,3
1,2
^
4,6
G
C
G
A
G
5,5
1,2
4,4
4,4
1,2
6,6
A
G
^
1,1
6,6
A
G
2,2
1,2
4,4
G
A
4,4
2,2
0 1 2 3 4 5 6
G
^
R= “A G G A G C $”
2,2
6,6
G
^
6
3
0
5
2
4
1
0
1
2
3
4
5
6
6,6
2,2
A
2,2
A
2,2
^
2,2
^
2,2

---
Algorithms and tools
Suffix Arrays (SA) algorithm
SA uses more memory than other related compressed data structures like BWT
It very efficiently aligns sequencing reads against a large reference sequence such as the human genome, a suffix array index is created using reference genome
Since it is not compressed the performance achieved is higher than with BWT, it can align million sequences per second in modern CPUs!
Depending on the alignment strategy, a high sensitivity can be achieved, it can allow a relative high number of mismatches, and in some implementations several INDELs

---
Algorithms and tools
Many aligners available, which to use?
- Many aligners available, more than 70!!
  - http://wwwdev.ebi.ac.uk/fg/hts_mappers/
- Can be difficult to select one, some criteria
  - Type of analysis: dna, rna, meth
  - Number of cites
  - ...
- Selecting an aligner: simulate datasets to choose the best:
  - Which one is more sensitive to INDELS?
  - Which produce less false positives alignments
  - Which RNA aligner works better with low coverage?
  - …
- All of them work similarly
  - Reference genome index: this index can be a Burrows-Wheeler Transform (BWT), Suffix array (SA), …
  - The reads are aligned to that index or are split in seeds an then aligned, seeds aligned are clustered together
  - In general poor performance when high number of mismatches or INDELS are present

---
Algorithms and tools
DNA: BWA, BWA-SW and BWA-MEM
- BWA stands from Burrows-Wheeler Aligner, developed by R. Durbin at Sanger Institute
  - http://bio-bwa.sourceforge.net/
- It was one of the first NGS mappers and is widely used, provides very good results in common scenarios
- It implements BWT and Suffix Arrays (SA) with support for few errors:
  - BWA-SW and BWA-MEM both tolerate more errors given longer alignment. Simulation suggests that they may work well given 2% error for an 100bp alignment, 3% error for a 200bp, 5% for 500bp and 10% for 1000bp or longer alignment
- Implementation is in C and it is multi-thread, but lacks some features such as support for RNA-seq or big INDELS
- Not designed to take advantage of new technologies and clusters, not specially fast

---
Algorithms and tools
DNA: Bowtie and Bowtie2
- Bowtie allowed a few mismatches (<3) and no gaps, claimed to be the fastest, but it missed many reads
- Bowtie2 improved sensitivity when compared to Bowtie:
  - http://bowtie-bio.sourceforge.net/bowtie2/index.shtml
- Widely used, however it is a little bit less sensitivity than BWA, fail to correctly map many mismatches and INDELS
- Implementation is in C and it is multi-thread, but lacks some biological features such as support for RNA or big INDELS
- Not designed to take advantage of new technologies and clusters

---
Algorithms and tools
RNA-seq: TopHat, the standard RNA-seq aligner
- TopHat is the standard for RNA-seq mapping
  - http://tophat.cbcb.umd.edu/
- It uses Bowtie2 to align reads, so it is not very sensitive, usually maps 75% of reads
- Not ready for long reads (>150bp), mapping decrease to below 50%
- Poor performance, can take several hours to map
- Big memory footprint and a lot of disk used
- Mapping fall down with mismatches, INDELS and longer reads
- Written in Python and C. Not designed to take advantage of new technologies and clusters

---
Algorithms and tools
RNA-seq: STAR and MapSplice
- STAR developed for ENCODE project
  - https://code.google.com/p/rna-star/
  - High-performance, not very high sensitivity
- MapSplice
  - http://www.netlab.uky.edu/p/bioinfo/MapSplice2
  - Not bad sensitivity but very slow

---
Algorithms and tools
Meth: Bismark, a BS-seq mapper
- Bismark can map BS-seq data:
  - http://www.bioinformatics.babraham.ac.uk/projects/bismark/
- It uses Bowtie2 for mapping
- Sensitivity and performance very poor
- Written in Perl and Python. Not designed to take advantage of new technologies and clusters

---
HPG Aligner
Why another NGS read mapper, motivation
- Bioinformatics needs
  - Reads sizes are increasing, first mappers were designed to 50bp
  - More sensitivity is needed: more variability and indels than expected
  - Genomic rearrangements: copy number, translocations, …
  - INDELS realignment, mapping recalibration
  - One tool to rule them all: DNA, RNA-seq, BS-seq, BAM QC, …
  - Only one execution from FASTQ to BAM file, easy pipelines
- Computational needs
  - Performance and memory usage is not acceptable in most cases, software democratization
  - HPC technologies can be applied: multi-core, SSE (SIMD), GPU, ...
  - Software not ready for scientific clusters: MPI
  - Software must be designed for working on clouds
  - Poor software engineering: lack of libs
  - HPG project released: http://www.opencb.org/technologies/hpg
  - HPG is part of the OpenCB initiative released to the community http://www.opencb.org

---
HPG Aligner
Architecture and features
Current read aligners software tend to fit in one of these groups:
Very fast, but no too sensitive: no gaps, no indels, rna-seq...
Slow, but very sensitive: up to 1 day by sample
Current aligners show bad performance with long reads
Current read Aligner algorithms
Burrows-Wheeler Transform (BWT): very fast! No sensitive
Smith-Waterman (SW): very sensitive but very slow
Hybrid approach (papers in preparation):
HPG-BWT implemented with OpenMP and Nvidia CUDA
HPG-SW implemented using OpenMP and SSE (~26x in 8-core)
Fastq file
HPG-BWT
OpenMP+GPU
Architecture
< 2 errors
>= 2 errors
Find CALs with HPG-BWT (seeds)
HPG-SW
OpenMP+SSE
~50x with SSE
Testing BWT-GPU
SAM file

---
HPG Aligner
Benchmarks and results: DNA alignment
First results show an amazing performance and the best sensitivity
DNA 40M simulated datasets
DNA 4M simulated INDEL datasets
Program	100nt / %mapped / Time(min)	150nt / %mapped / Time(min)	400nt / %mapped / Time(min)
HPG Aligner 2.0 dna mode	98.77% / 20.57min	99.54% / 22.90min	99.93% / 31.35min
BWA MEM 0.7.5	96.99% / 29.34min	98.09% / 43.35min	99.12% / 124.16min
Bowtie2 / 2.1.0	94.67% / 29.40min	96.71% / 47.61min	98.82% / 209.26min
Program	100nt / %mapped / I10	150nt / %mapped / I10	400nt / %mapped / I15
HPG Aligner 2.0 dna mode	84.69%	88.23%	88.94%
BWA MEM 0.7.5	83.37%	81.92%	77.36%
Bowtie2 / 2.1.0	68.50%	66.28%	52.13%
Correctly mapped results
No GPUs were used
Other tools were benchamarked: GEM, SOAP, BFAST,... but no positive result were obtained
Published, Bioinformatics 2014
http://bioinformatics.oxfordjournals.org/content/early/2014/09/01/bioinformatics.btu553.long

---
HPG Aligner
Benchmarks and results: RNA-seq
RNA-seq 1M simulated datasets
Comparative results with TopHat2 using both Bowtie and Bowtie2
Program	75nt / %mapped / Time(min)	100nt / %mapped / Time(min)	150nt / %mapped / Time(min)
HPG Aligner rna mode	96.6% / 1.03min	97.47% / 1.2min	98.35% / 2.28min
TopHat 2.0.4	74.4% / 15.6min	62.1% / 20.1min	37.1% / 36.2min
Notes:
Max errors allowed
Similar results are obtained with real datasets
TopHat doubles disk space and big memory needs
15x faster!!
Hardware scalability tests
Under review in Bioinformatics

---
HPG Aligner
Main and coming features
- Part of the HPG suite (http://www.opencb.org/technologies/hpg) with other tools: hpg-fastq, hpg-bam, hpg-aligner, hpg-variant
- Only one execution is needed to generate the BAM output file (saves disk)
- Faster index creator, multi-core implementation
- Designed to provide the better sensitivity
- Soft clipping of adaptors
- HPC technologies used to provide the fastest runtime: multicore, SSE, GPUs, …
- Open-source and open development, code at GitHub https://github.com/opencb-hpg
- Part of the OpenCB project: http://www.opencb.org
- Coming features
  - DNA: INDEL realignment (GATK algorithm)
  - BS-seq: for methylation analysis (being testing)
  - RNA-seq: suport for no canonical splices
  - Hadoop implementation will allow to run it in a distributed environment
  - Performance improvements

---
SAM/BAM specification
Mapping output: SAM/BAM format
SAM Specification: http://samtools.sourceforge.net/SAM1.pdf
Take a quick look:
@PG ID:HPG-Aligner VN:1.0
@SQ SN:20 LN:63025520
HWI-ST700660_138:2:2105:7292:79900#2@0/1 16 20 76703 254 76= * 0 0 GTTTAGATACTGAAAGGTACATACTTCTTTGTAGGAACAAGCTATCATGCTGCATTTCTATAATATCACATGAATA GIJGJLGGFLILGGIEIFEKEDELIGLJIHJFIKKFELFIKLFFGLGHKKGJLFIIGKFFEFFEFGKCKFHHCCCF AS:i:254 NH:i:1 NM:i:0
HWI-ST700660_138:2:2208:6911:12246#2@0/1 16 20 76703 254 76= * 0 0 GTTTAGATACTGAAAGGTACATACTTCTTTGTAGGAACAAGCTATCATGCTGCATTTCTATAATATCACATGAATA HHJFHLGFFLILEGIKIEEMGEDLIGLHIHJFIKKFELFIKLEFGKGHEKHJLFHIGKFFDFFEFGKDKFHHCCCF AS:i:254 NH:i:1 NM:i:0
HWI-ST700660_138:2:1201:2973:62218#2@0/1 0 20 76655 254 76M * 0 0 AACCCCAAAAATGTTGGAAGAATAATGTAGGACATTGCAGAAGACGATGTTTAGATACTGAAAGGGACATACTTCT FEFFGHHHGGHFKCCJKFHIGIFFIFLDEJKGJGGFKIHLFIJGIEGFLDEDFLFGEIIMHHIKL$BBGFFJIEHE AS:i:254 NH:i:1 NM:i:1
HWI-ST700660_138:2:1203:21395:164917#2@0/1 256 20 68253 254 4M1D72M * 0 0 NCACCCATGATAGACCAGTAAAGGTGACCACTTAAATTCCTTGCTGTGCAGTGTTCTGTATTCCTCAGGACACAGA #4@ADEHFJFFEJDHJGKEFIHGHBGFHHFIICEIIFFKKIFHEGJEHHGLELEGKJMFGGGLEIKHLFGKIKHDG AS:i:254 NH:i:3 NM:i:1
HWI-ST700660_138:2:1105:16101:50526#6@0/1 16 20 126103 246 53M4D23M * 0 0 AAGAAGTGCAAACCTGAAGAGATGCATGTAAAGAATGGTTGGGCAATGTGCGGCAAAGGGACTGCTGTGTTCCAGC
    FEHIGGHIGIGJI6FCFHJIFFLJJCJGJHGFKKKKGIJKHFFKIFFFKHFLKHGKJLJGKILLEFFLIHJIEIIB AS:i:368 NH:i:1 NM:i:4

---
SAM/BAM specification
Mapping output, mandatory fields
First columns are mandatory
Flags
CIGAR

---
SAM/BAM specification
Mapping output, optional fields
Some optionals fields, in the aligner section
SAM specification is part of SAMtools package. More info at: http://samtools.sourceforge.net/
A binary SAMtools is distributed freely to:
SAM ↔ BAM
Depth
Merge
Sort
...

---
Best practices
Take home messages
- Choose the best aligner for your analysis and hardware
- Remove duplicated and low qualities reads from FASTQ
- Try to use paired-end datasets for variant calling and structural variation analysis. In RNA-seq paired-end can detect gene fusions
- Do not allow multiple hits for variant calling analysis. RNA-seq depending on read size and the analysis to perform
- Realign INDELS and recalibrate mapping quality for variant calling analysis
- Simulation can be very useful for choosing the right aligner

---
Data repositories
Open and controlled access repositories
- 1000 Genome project
  - http://www.1000genomes.org/
- SRA, Short Read Archive
  - http://www.ncbi.nlm.nih.gov/sra
- EGA, European Genome-Phenome Archive
  - https://www.ebi.ac.uk/ega
- … and many others

---
Hands-on
Tutorial
Go to:
http://ngs-course.github.io/Course_Materials/alignment/tutorial/example.html

---
QC alignment
Motivation
- We need to know how well the alignment process went
- Hundreds of million of mapped reads
- Some biases can occur
- Some useful information
  - % reads mapped
  - Mean average error
  - Error distribution
  - Length distribution
  - Coverage
  - …
- Not many software for QC available, sometimes you have to use more than one

---
QC alignment
Download QC software
- SAMstat, download from http://samstat.sourceforge.net/
  - Uncompress
    - tar zxvf samstat.tgz
    - cd samstat/src
    - make
    - Move the binary userhome/bin folder
- HPG-BAM, download from http://wiki.opencb.org/projects/hpg/doku.php?id=utilities:bam
  - Uncompress
    - gunzip hpg-bam.gz
    - Move the binary userhome/bin folder

---
QC alignment
SAMstat
- SAMstat, easy to execute:
  - ./samstat hq-test_pe.bam
- Produces a HTML5 page, use Google Chrome or Firefox to open it, some useful info:
  - % mapped (grouped by mapping quality)
  - Error distribution
  - Length distribution
  - ...
- Download BAM file from 1000Genomes to study real data

---
QC alignment
HPG-BAM
- HPG-BAM, we want to use 'stats' command, read tutorial from http://wiki.opencb.org/projects/hpg/doku.php?id=utilities:bam
  - ./hpg-bam stats -b hq-test1.bam -o /tmp
- Produces some plots and txt files with stats:
  - Coverage
  - Error distribution
  - GC content
  - …
- Download BAM file from 1000Genomes to study real data
- Cloud based version being developed